## README
The purpose of this document is to eventually link to all technical reference information needed to support integration of the systems referenced in the Landscape document.
Tab
Landscape | This spreadsheet extends the modality information in the document: | PIH-Lesotho PACS Landscape Assessment (with final comments).docx
Landscape | The modality table in that document is reproduced here on the "Landscape" tab.
Landscape | There is one row per modality, so for original rows with "Quantity = 2" there are now two rows with the same original row/index number but under quantity there is "1 of 2" and "2 of 2"
UpKeepDetails | Rather than cutting and pasting UpKeep info into the Landscape table, this spreadsheet uses asset tags as keys to pull the UpKeep info from the UpKeep tab. Where there is no assigned UpKeep asset tag, I have created an arbitrary, unique, "NOTAGnnnn" tag.
UpKeepDetails | The UpKeep details tab has the info for each modality available in the PowerBI report here: | Lesotho PowerBI Asset Inventory
Issues | This page captures issues noted in trying to correlate Landscape info with UpKeep info.

## Landscape
Landscape Index | Modality ID | Modality location | Modality type | Model number | Model number should be | Asset Tag | Vendor Serial | Note | Quantity | Digital (Y/N) | Operational (Y/N) | DICOM License (Y/N)
6 |  | 5 High volume health facilities in Mohales Hoek | Portable x-ray | MinXray Impact |  |  |  | (incoming – not received yet) | 5 | Y | Y | assessed after PACS vendor selection
7 |  | 5 Rural Initiative sites | Portable x-ray | MinXray Impact |  |  |  | (incoming – not received yet) | 7 | Y | Y | assessed after PACS vendor selection
37 |  | Bobete Clinic | Ultrasound | Butterfly iQ+ |  | NOTAG0004 | BT21140486 |  | 1 | Y | Y | assessed after PACS vendor selection | Model | Options
36 |  | Bobete Clinic | Ultrasound | Fujifilm Sonosite P04107-02R |  | BBC00002B | 032D7V |  | 1 | Y | Y | assessed after PACS vendor selection
34 |  | Bobete Clinic | Portable X-ray | MinXray CMDR.T.120.60.S with detector |  | BBC00018B | CMK2105 |  | 1 | Y | Y | assessed after PACS vendor selection
35 |  | Bobete Clinic | Mobile X-Ray (Analog) | Siemens 5510 |  | BBC00017B | 32345 |  | 1 | N | N | N/A (not digital)
4 |  | Botsabelo | Ultrasound | Butterfly Network, Inc - iQ+ |  | NOTAG0003 | BT21140B12 |  | 1 | Y | Y | assessed after PACS vendor selection
5 |  | Botsabelo | Ultrasound | Fujifilm Sonosite - M Turbo |  | NOTAG0002 | 03R92L |  | 1 | Y | Y | assessed after PACS vendor selection
1 |  | Botsabelo | Mobile X-Ray | Lamina Plus -MUX-100H |  | BH00060B | 503-48500-12 |  | 1 | N | Y (Software license expired) | N/A (not digital)
2 |  | Botsabelo | Portable X-ray | Sedecal - TXLW8 |  | BH00058B | PKL12432 |  | 1 | Y | Y | assessed after PACS vendor selection
3 |  | Botsabelo | Fixed X-ray Room (table and wall stand) | Sedecal X-Ray Machine - RAD Console - Sedecal - G - 83780 | Sedecal X - Ray Machine | BH00059B | BR10220 | Is this the console for BH000558B or an actual modality? | 1 | Y | Y | assessed after PACS vendor selection
31 |  | Lebakeng Clinic | Ultrasound | Butterfly iQ3 |  | LK100050001 | 24190422 |  | 1 | Y | Y | assessed after PACS vendor selection
32 |  | Lebakeng Clinic | Portable X-ray | Fujifilm FDR Xair with FDR D-EVO II detector |  | LKC00008B | XDRH-6213 |  | 1 | Y | Y | assessed after PACS vendor selection
30 |  | Lebakeng Clinic | Ultrasound | Fujifilm Sonosite M-turbo |  | LKC00019B | 03NHXN |  | 1 | Y | Y | assessed after PACS vendor selection
33 |  | Lebakeng Clinic | Mobile X-ray (Analog) | Siemens 5510-IEC 60601-2-7 : 1998 | Siemens 5510 | LKC00009B | AERB/XT/02A/09 |  | 1 | N | N | N/A (not digital)
28 |  | Manemaneng Clinic | Ultrasound | Butterfly iQ+ |  | 35038429779 | (21)BT21130623 | Same unit as in MLC? Moved? | 1 | Y | Y | assessed after PACS vendor selection
29 |  | Manemaneng Clinic | Portable X-Ray | Butterfly iQ3 |  | RA 100 05 0001 | 24190239 |  | 1 | Y | Y | assessed after PACS vendor selection
26 |  | Manemaneng Clinic | Portable X-Ray | MinXray TR90BH with detector |  | NOTAG0009 | undef |  | 1 | Y | Y | assessed after PACS vendor selection
27 |  | Manemaneng Clinic | Mobile X-Ray (Analog) | Siemens 8620002 |  | 87406322849 | AERB/02A/574 |  | 1 | N | N | N/A (not digital)
22 |  | Methalaneng Clinic | Ultrasound | Butterfly iQ+ |  | NOTAG0010 | BT21130623 | Same unit as in MHC? Moved? | 1 | Y | Y | assessed after PACS vendor selection
24 |  | Methalaneng Clinic | Portable X-ray | MinXray TR90BH with CareView detector |  | 15468930796 | 46604 |  | 1 | Y | Y | assessed after PACS vendor selection
25 |  | Methalaneng Clinic | Mobile X-Ray (Analog) | Siemens 08633864 | 862002 | 87406322849 | AERB/02A/574 | What does 08633864 mean? | 1 | N | N | N/A (not digital)
23 |  | Methalaneng Clinic | Ultrasound | Sonosite Titan P04107-02R |  | MLC00022B | 0388R5 | Should probably be P04969-01A? There is a P04107-02R at LS-BBC-Maternal. | 1 | Y | Y | assessed after PACS vendor selection
21 |  | Mohale’s Hoek | Ultrasound | Butterfly iQ3 |  | NOTAG0005 | 24170152 |  | 1 of 2 | Y | Y | assessed after PACS vendor selection
21 |  | Mohale’s Hoek | Ultrasound | Butterfly iQ3 |  | NOTAG0006 | 24190536 |  | 2 of 2 | Y | Y | assessed after PACS vendor selection
20 |  | Mohale’s Hoek | Mobile X-ray | OR Technology PXM-20BT Plus with iRay Detector |  | NOTAG0007 | NPTH20BP-2306-008 | Only 1 in UpKeep.. | 2 | Y | Y | assessed after PACS vendor selection
16 |  | Nkau Clinic | Ultrasound | Butterfly iQ3 |  | NK 100 05 0001 | 24190572 |  | 1 | Y | Y | assessed after PACS vendor selection
17 |  | Nkau Clinic | Ultrasound | Fujifilm Sonosite M-Turbo |  | NKC00021B | WK0VN1 |  | 1 | Y | Y | assessed after PACS vendor selection
18 |  | Nkau Clinic | Portable X-Ray | MinXray MXRSLW |  | 98863463053 | 42837 |  | 1 | N | Y | N/A (not digital)
19 |  | Nkau Clinic | Mobile X-Ray (Analog) | Siemens 5510 |  | NKC00030B | 32343 |  | 1 | N | N | N/A (not digital)
15 |  | Nohana Clinic | Ultrasound | Fujifilm Sonosite M-Turbo |  | NHC00005B | 03X570 |  | 1 | Y | Y | assessed after PACS vendor selection
14 |  | Nohana Clinic | Portable X-ray | MinXray CMDR.T.120.60.S |  | NHC00011B | CMK2104 |  | 1 | Y | Y | assessed after PACS vendor selection
13 |  | Nohana Clinic | Mobile X-Ray (Analog) | Siemens 5510 |  | NHC00010B | 32344 |  | 1 | N | N | N/A (not digital)
8 |  | Ntsekhe Hospital | Portable x-ray | MinXray Impact |  |  | undef | (incoming – not received yet) | 1 of 2 | Y | Y | assessed after PACS vendor selection
8 |  | Ntsekhe Hospital | Portable x-ray | MinXray Impact |  |  | undef | (incoming – not received yet) | 2 of 2 | Y | Y | assessed after PACS vendor selection
10 |  | Tihanyaku Clinic | Portable X-ray | Fujifilm FDR Xair XD2000 PX |  | TNC00013B | XDRH-6216 |  | 1 | Y | Y | assessed after PACS vendor selection
11 |  | Tihanyaku Clinic | Mobile X-Ray (Analog) | Siemens 5510 |  | NOTAG0001 | 32831 |  | 1 | N | N | N/A (not digital)
9 |  | Tihanyaku Clinic | Ultrasound | Sonosite Titan P04107-02R |  | TNC00012B | 031XRH |  | 1 | Y | Y | assessed after PACS vendor selection
12 |  | Tihanyaku Clinic | Ultrasound | Sonosite Titan P04107-02R |  |  | undef | duplicate? UpKeep shows only one ultrasound for this clinic. | 1 | Y | Y | assessed after PACS vendor selection

## UpKeep Details
Asset Tag (UpKeep) | Normalized Location Name | Parent Location | Parent Abbrev | Site Location | Inconsistent | Upkeep Location Name | Location Note | Asset Name (UpKeep) | Manufacturer | Model (UpKeep) | Serial Number (UpKeep) | Normalized Serial | Category | Downtime Status | Purchase Date | Placed In Service Date | Most Recent Work Order Completed Date | Warranty Expiration | Parent Asset Tag | Parent Asset Name | Parent Asset Downtime Status | Parent Asset OB Code | Column2 | Notes
NKC00030B | LS - NKC - X-ray | Nkau Clinic | NKC | X-ray | FALSE | LS - NKC - X-ray |  | X-Ray Machine - Siemens - 8620002 |  | 8620002 | 32343 | 32343 | X-ray | available
NHC00010B | LS - NHC - X-ray | Nohana Clinic | NHC | X-ray | FALSE | LS - NHC - X-ray |  | X-Ray Mobile Equipment - Siemens - 5510 | Siemens | 5510 | 32344 | 32344 | Portable X-ray | available
BBC00017B | LS - BBC - X-ray | Bobete Clinic | BBC | X-ray | FALSE | LS - BBC - X-ray |  | X-Ray Mobile Equipment - Siemens - 5510 | Siemans | 5510 | 32345 | 32345 | Portable X-ray | not-available
NOTAG0001 | LS - TNC - X-ray | Tihanyaku Clinic | TNC | X-ray | FALSE | LS - TNC - X-ray |  | X-Ray Machine - Siemens - 5510 | Siemans | 5510 | 32831 | 32831 |  | available
98863463053 | LS - NKC - X-ray | Nkau Clinic | NKC | X-ray | FALSE | LS - NKC - X-ray |  | X-Ray Machine-MinXray | MinXray | MXRSLW | 42837 | 42837 |  | available |  |  | 2025-10-28
NOTAG0008 | LS - MLC - X-ray | Methalaneng Clinic | MLC | X-ray | FALSE | LS - MLC - X-ray |  | Portable X-Ray Machine - MinXRay - TR90BH | MinXray | TR90BH | 46604 | 46604 |  | available |  |  | 2025-11-04
15468930796 | LS - MHC - X-ray | Manemaneng Clinic | MHC | X-ray | TRUE | Lesotho - Methalaneng Clinic |  | X-Ray Machine | MinXray | TR90BH | 46604 | 46604 |  | available
5853269117 | LS - MMC - X-ray | Manemaneng Clinic | MMC | X-ray | TRUE | LS - MMC - X-Ray Department |  | Portable X-Ray Machine - MinXRay - TR90BH | MinXray | TR90BH | 46617 | 46617 |  | available |  |  | 2025-11-11
NOTAG0005 | LS - MH - X-ray | Mohales Hoek (TB Elimination) | MH | X-ray | TRUE | X - Ray Department |  | Butterfly Ultrasound - Butterfly Network - iQ3 | Butterfly Network | iQ3 | 24170152 | 24170152 |  | available
RA 100 05 0001 | LS - MMC - Maternal and Child Health | Manemaneng Clinic | MMC | Maternal and Child Health | TRUE | LS - MMC - Maternal and Child health | two spaces between "and" and "Child" | Butterfly Ultrasound - Butterfly Network - iQ3 | Butterfly Network | iQ3 | 24190239 | 24190239 |  | available | [9 empty] | Duplicate 46617 in redundant location Lesotho - Manemaneng Clinic
LK100050001 | LS - LKC - Maternal and Child Health | Lebakeng Clinic | LKC | Maternal and Child Health | FALSE | LS - LKC - Maternal and Child Health |  | Butterfly Ultrasound - Butterfly Network - iQ3 | Butterfly Network | iQ3 | 24190422 | 24190422 |  | available
NOTAG0006 | LS - MH - X-ray | Mohales Hoek (TB Elimination) | MH | X-ray | TRUE | X - Ray Department |  | Butterfly Ultrasound - Butterly Network - iQ3 | Butterfly Network | iQ3 | 24190536 | 24190536 |  | available
NK 100 05 0001 | LS - NKC - Maternal and Child Health | Nkau Clinic | NKC | Maternal and Child Health | FALSE | LS - NKC - Maternal and Child Health |  | Butterfly Ultrasound - Butterfly Network - iQ3 | Butterfly Network | iQ3 | 24190572 | 24190572 |  | available
TNC00012B | LS - TNC - Maternal and Child Health | Tihanyaku Clinic | TNC | Maternal and Child Health | FALSE | LS - TNC - Maternal and Child Health |  | Ultrasound Machine - Sonosite TITAN - P04107-02R | Fujifilm | Titan | 031XRH | 031XRH | Ultrasound | available |  |  | 2025-12-02
BBC00002B | LS - BBC - Maternal and Child Health | Bobete Clinic | BBC | Maternal and Child Health | FALSE | LS - BBC - Maternal and Child Health |  | Ultrasound Machine - Fujifilm Sonosite Inc - P04107-02R | Fujifilm Sonosite | P04107-02R | 032D7V | 032D7V | Ultrasound | available |  |  | 2025-11-06
MLC00022B | LS - MLC - Maternal and Child Health | Methalaneng Clinic | MLC | Maternal and Child Health | FALSE | LS - MLC - Maternal and Child Health |  | Ultrasound Machine - Transducer - Sonosite - P04969-01A | Fujifilm Sonosite | P04969-01A | 0388R5 | 0388R5 |  | available |  |  | 2025-11-04 |  | MLC00008B | Ultrasound Machine - Titan - P04107-02R | not-available
LKC00019B | LS - LKC - Maternal and Child Health | Lebakeng Clinic | LKC | Maternal and Child Health | FALSE | LS - LKC - Maternal and Child Health |  | Ultrasound Machine - Fujifilm Sonosite - M-turbo | Fujifilm Sonosite | P08189-91R | 03NHXN | 03NHXN | Ultrasound | available |  |  | 2025-11-13
NOTAG0002 | LS - BH - X-ray | Botsabelo MDR-TB Hospital | BH | X-ray | FALSE | LS - BH - X-ray |  | Ultrasound - Fujifilm Sonosite - M Turbo | Fujifilm | M-Turbo | 03R92L | 03R92L
NHC00005B | LS - NHC - Maternal and Child Health | Nohana Clinic | NHC | Maternal and Child Health | FALSE | LS - NHC - Maternal and Child Health |  | Ultrasound Machine - Fujifilm Sonosite - M-turbo | Fujifilm Sonosite | P08189-91R | 03X570 | 03X570 | Ultrasound | available |  |  | 2025-11-25
BH00060B | LS - BH - X-ray | Botsabelo MDR-TB Hospital | BH | X-ray | FALSE | LS - BH - X-ray |  | Mobile X-Ray - Lamina Plus -MUX-100H | Shimadzu | MUX-100H | 503-48500-12 | 503-48500-12 | Portable X-ray | available |  |  | 2026-04-29
87406322849 | LS - MMC - X-ray | Manemaneng Clinic | MMC | X-ray | TRUE | LS - MMC - X-Ray Department |  | Mobile X-Ray machine | Siemens | 8620002 | AERB/02A/574 | AERB/02A/574 |  | not-available
LKC00009B | LS - LKC - X-ray | Lebakeng Clinic | LKC | X-ray | FALSE | LS - LKC - X-ray |  | X-Ray Mobile Equipment - Siemens - 5510 | Siemens | 5510 | AERB/XT/02A/09 | AERB/XT/02A/09 | Portable X-ray | not-available
BH00059B | LS - BH - X-ray | Botsabelo MDR-TB Hospital | BH | X-ray | FALSE | LS - BH - X-ray |  | Sedecal X - Ray Machine | Radiographic System Sedecal X | 18505 | BR10220 | BR10220 |  | available |  |  | 2025-08-28
NOTAG0010 | LS - MLC - Maternal and Child Health | Methalaneng Clinic | MLC | Maternal and Child Health | FALSE | LS - MLC - Maternal and Child Health |  | Butterfly Ultrasound - Butterfly Network - iQ+ | Butterfly Network | iQ+ | BT21130623 | BT21130623 |  | available
35038429779 | LS - MMC - Maternal and Child Health | Manemaneng Clinic | MMC | Maternal and Child Health | TRUE | LS - MMC - Maternal and Child health | "health" should be upper case | Ultrasound - Butterfly - IQ+ | Butterfly Network | iQ+ | (21)BT21130623 | BT21130623 |  | available |  |  | 2025-11-11
NOTAG0004 | LS - BBC - Maternal and Child Health | Bobete Clinic | BBC | Maternal and Child Health | FALSE | LS - BBC - Maternal and Child Health |  | Butterfly Ultrasound - Butterfly Network - iQ+ | Butterfly Network | iQ+ | BT21140486 | BT21140486 |  | available |  |  | 2026-04-07
NOTAG0003 | LS - BH - ICU | Botsabelo MDR-TB Hospital | BH | ICU | FALSE | LS - BH - ICU |  | Ultrasound - Butterfly Network, Inc - iQ+ | Butterfly Network | iQ+ | BT21140B12 | BT21140B12 |  | available
NHC00011B | LS - NHC - X-ray | Nohana Clinic | NHC | X-ray | FALSE | LS - NHC - X-ray |  | X-Ray Portable Digital Radiography System - MINXRAY - CMDR.T.120.60.S | MinXray | CMDR.T.120.60.S | CMK2104 | CMK2104
BBC00018B | LS - BBC - X-ray | Bobete Clinic | BBC | X-ray | FALSE | LS - BBC - X-ray |  | X-Ray Portable Digital Radiography System - MINXRAY - CMDR.T.120.60.S | MinXray | CMDR.T.120.60.S | CMK2105 | CMK2105 | Portable X-ray | available |  |  | 2025-11-06
NHC00009B | LS - NHC - X-ray | Nohana Clinic | NHC | X-ray | FALSE | LS - NHC - X-ray |  | X-Ray Machine - MINXRAY | MinXray | CMDR.T.120.60S | CMK2106 | CMK2106
NOTAG0007 | LS - MH - X-ray | Mohales Hoek (TB Elimination) | MH | X-ray | TRUE | X - Ray Department |  | Diagnostic X-Ray Unit - OR Technology - (PXM-20BT Plus) | OR Technology | PXM-20BT Plus | NPTH20BP-2306-008 | NPTH20BP-2306-008 |  | available | [5 empty] | Mobile X-Ray Clinic 2 - LSMOHLC004 | available
BH00058B | LS - BH - X-ray | Botsabelo MDR-TB Hospital | BH | X-ray | FALSE | LS - BH - X-ray |  | Portable X-ray - Sedecal - TXLW8 | TXLW8 | 15553 | PKL12432 | PKL12432 |  | available |  |  | 2025-08-21
NKC00021B | LS - NKC - Maternal and Child Health | Nkau Clinic | NKC | Maternal and Child Health | FALSE | LS - NKC - Maternal and Child Health |  | Ultrasound Machine - Fujifilm Sonosite - M-turbo | Fujifilm Sonosite | P08189-91R | WK0VN1 | WK0VN1 | Ultrasound | available
LKC00008B | LS - LKC - X-ray | Lebakeng Clinic | LKC | X-ray | FALSE | LS - LKC - X-ray |  | Portable X-Ray Unit FDR Xair - Fujifilm Corp - XD2000 PX | Fujifilm Healthcare | XD2000 PX | XDRH-6213 | XDRH-6213 | Portable X-ray | available |  |  | 2025-11-13
TNC00013B | LS - TNC - X-ray | Tihanyaku Clinic | TNC | X-ray | FALSE | LS - TNC - X-ray |  | Portable X-Ray Unit FDR Xair - Fujifilm Corp. - XD2000 PX | Fujifilm Healthcare | XD2000 PX | XDRH-6216 | XDRH-6216 |  | Portable X-ray | available |  |  | 2025-12-02

## Issues
uk0001 | usability | Don't roll asset properties into Asset Name. Opportunity for inconsistency here. Create a short asset name, and if we want a long asset name with appended properties, make that a calculated property. | BBC00002B | LS - BBC - Maternal and Child Health | Ultrasound Machine - Fujifilm Sonosite Inc - P04107-02R | Fujifilm Sonosite | P04107-02R
uk0002 | correctness | Identify correct serial number patterns and validate serial numbers accordingly. May have several patterns per vendor. Removes opportunity to add same unit as two separate units. | 35038429779 | LS - MMC - Maternal and Child Health | Ultrasound - Butterfly - IQ+ | Butterfly Network | iQ+ | (21)BT21130623 | BT21130623
|  |  | NOTAG0010 | LS - MLC - Maternal and Child Health |  | Butterfly Ultrasound - Butterfly Network - iQ+ | iQ+ | BT21130623 | BT21130623
uk0003 | correctness | Some paste errors in the Asset Name, e.g. this Siemens unit has a safety standard reference text string appended.

## Scratch
UpKeep Site | Location Name | Asset Tag (UpKeep) | Asset Name (UpKeep) | Model (UpKeep) | OpenBoxes Code (UpKeep) | Serial Number (UpKeep) | Category | Downtime Status | Purchase Date | Placed In Service Date | Most Recent Work Order Completed Date | Warranty Expiration | Parent Asset Tag | Parent Asset Name | Parent Asset Downtime Status | Parent Asset OB Code
Lesotho Biomed | LS - MMC - Maternal and Child health | 35038429779 | Ultrasound - Butterfly - IQ+ | iQ+ | 25562 | (21)BT21130623 |  | available |  |  | 2025-11-11
Lesotho Biomed | LS - MLC - Maternal and Child Health |  | Butterfly Ultrasound - Butterfly Network - iQ+ | iQ+ |  | BT21130623 |  | available